| Molecular Weight | 902.12 (average based on fatty acid distribution in product) |
| --- | --- |
| Physical State | Powder |
| Storage | -20°C |
| Expiration Date | Three months from date of receipt |
| M Lot Number | 5504PJD325 |
| Avanti Lot Number | 840042P-25MG-D-325 |

| ANALYSIS | SPECIFICATION | RESULTS |
| --- | --- | --- |
| Physical Examination | Powder: White solid which contains no foreign matter | Pass |
| TLC | >99% Purity Ninhydrin: negative Iodine: one major spot Phosphorus: positive Charring: positive Water dip: one major spot | All Pass |
| UV Oxidation | NMT 5% total all wavelengths | 1% total |
| FAME (GC/FID) | Consistent with historical data 18:0 = ~46% 18:1 = ~8% 18:2 = ~6% 20:3 = ~13% 20:4 = ~17% | Consistent with historical data |
| Calcium (ICP/MS) | NMT 500 ppm | None Detected |
| Mass Spectroscopy | [M-Na]- = 886.12 ± 1 amu (predominant species) | [M-Na]- = 885.9 amu (predominant species) |

Approved By: